**Part 1 – General**

1. **General description**
2. Supply and install operable glass partitions and suspension system. Provide all labor, materials, tools, equipment and services for glass operable partitions in accordance with provisions of contract documents.
3. Complete shop drawings are to be provided prior to fabrication indicating construction and installation details.
4. **Quality assurance**
5. Glass shall be tempered as per ASTM C1048-92.
6. **Product delivery, storage and handling**
7. Proper storage of partitions before installation and continued protection during and after installation will be the responsibility of the General Contractor.
8. **Related work by others**
9. Paint or otherwise finishing of all trims and other materials adjoining head and jamb of the partitions.
10. All headers, blockings, support structures, jambs and track enclosures, meeting quality assurance requirements.
11. Pre-punching of support structure in accordance with approved shop drawings.
12. Preparation of opening will be by General Contractor. Any deviation of site conditions contrary to approved shop drawings must be called to the attention of the architect.
13. **Warranty**
14. The operable partitions and installation shall be guaranteed for a period of no less than one (1) year and the track and trolley system for a period of no less than five (5) years against defects in materials and workmanship. This warranty covering material and labor shall be effective upon the date of signature of the certificate relative to the substantial completion of work.

**Part 2 – Products**

1. **Materials**
   * + 1. Parallel glass panels manually operated, **Series G-600P** as manufactured by Corflex.
          1. Panels shall be nominally 40mm (1 5/8") thick and to 1219mm (48") in width.
          2. Panel faces shall be of 12 mm (1/2’’) tempered glass. All glass edges shall be polished.
          3. Glass shall be mechanically attached to top and bottom rails and not rely on friction and/or adhesives.
          4. No vertical trims should be visible. Top supporting and bottom horizontal rails shall be anodized aluminum and incorporate brush light seals. They shall have a stainless-steel plate capping both extremities.
          5. Top profiles shall have 25mm (1’’) brush seals that maintains contact with the track.
          6. Bottom profiles shall have 19mm (3/4’’) brush seals that maintain contact with the floor or other surface along the path of the movable wall.
          7. Top and bottom profile shall be:

Choose option:

Standard anodized aluminium profiles with brush seals.

Square anodized aluminium profiles with brush seals.

Standard anodized aluminium profiles covered with stainless steel cladding and with brush seals.

* + - * 1. Each panel contains a key locked foot bolt which is extended into a floor mounted receiver to stabilize and secure the panels in the opening. This foot bolt shall be installed on the face of the bottom rail of each panel.
        2. A floor recessed dust proof strike made of stainless steel will receive the foot bolt latch.
        3. Weight of the panels shall be approximately: 34.2 kg/m2 (7.0 lb./ ft2)

1. **Suspension system**
   * + - 1. The suspension system shall be made of multiple rows (2 to 5) of tracks made of clear anodized architectural grade extruded 6063-T6 aluminum alloy. Tracks shall be connected to the structural support by steel threaded hanger rods supplied by the manufacturer. Built-in ceiling trims shall be of anodized aluminum finish. A section of track will be removable on each row of tracks in order to make it possible for a panel to be removed from the track for later maintenance.
         2. Each panel shall be supported by two trolley assemblies consisting of four (4) steel ball bearing nylon coated wheels. A report showing that a reliability test covering a distance of 160 kilometers was completed must be available on request.
2. **Finishes** 
   * + - 1. All aluminum panel components will have a:

**Choose:**

Clear anodized finish

Other color anodized finish

Powder coated finish from RAL selector

1. **Operation**
   * + 1. The panels must be top supported and manually operated

**Part 3 – Execution and Installation**

1. **Installation**
2. Installation is to be completed by an authorized factory-trained installer.

X If concrete anchoring

Concrete anchoring suspension and bracing must be done by the authorized factory-trained installer. Concrete anchors must meet seismic requirements (remove 1.4.3, pre-punching of support structure in accordance with approved shop drawings).