# Part 1 – General

1. **General description**
2. Supply and install operable glass partitions. Provide all labor, materials, tools, equipment and services for glass operable partitions in accordance with provisions of contract documents.
3. Complete shop drawings are to be provided prior to fabrication indicating construction and installation details.
4. **Quality assurance**
   * + 1. Fire hazard classification: ASTM E84.
       2. Sound transmission coefficient: ASTM E90
5. **Product delivery, storage and handling**
6. Proper storage of partitions before installation and continued protection during and after installation will be the responsibility of the General Contractor.
7. **Related work by others**
8. Paint or otherwise finishing of all trims and other materials adjoining head and jamb of the partitions.
9. All headers, blockings, support structures, jambs, track enclosures, surrounding insulation, and sound baffles meeting quality assurance requirements.
10. Pre-punching of support structure in accordance with approved shop drawings.
11. Preparation of openings will be by General Contractor. Any deviation of site conditions contrary to approved shop drawings must be called to the attention of the architect.
12. **Warranty**
13. The operable partitions and installation shall be guaranteed for a period of no less than two (2) years and the track and trolley system for a period of no less than five (5) years against defects in materials and workmanship. This warranty covering material and labor shall be effective upon the date of signature of the certificate relative to the substantial completion of work.

**Part 2 – Products**

1. **Materials**
2. To be **Series 4600** as manufactured by **Corflex.**

Panels shall be normally 75mm (3”) thick, full perimeter extruded aluminum frame.

1. **Panel Finish:**

**Choose:**

Factory applied reinforced vinyl fabric with woven backing weighting not less than 465 g/m (15 oz/ly). Colour shall be selected from manufacturer’s standard colour selector.

Standard fabrics (colour shall be selected from manufacturer’s standard colour selector). The fabric shall have an acrylic backing and a stain resistant coating.

Factory applied vertical ribbed acoustical carpet weighing not less than 744g/m (24 oz/ly). (Colour shall be selected from manufacturer’s standard colour selector).

Factory applied high pressure laminate. (Colour shall be selected from manufacturer’s standard colour selector).

Factory applied full height steel white board that can be used as a working surface.

Factory applied full-height porcelain (2 layers of glazed enamel applied to a 0.4mm thick sheet of steel and cooked at very high temperature) that can be used as a work surface.

Customer’s supplied: (specify - Subject to manufacturer’s approval) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Other: Specify: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

.3 The leading vertical edge of each panel shall incorporate a tongue with two vinyl gaskets to nest into the vertical recess in the edge of the adjoining panel creating a positive, interlocking joint that provides panel stability, ease of panel alignment and sound control.

.4 Horizontal seals must not exceed the panel width to prevent damage while handling. Top seals shall be continuous contact vinyl sweeps.

Choose**:**

Top and bottom horizontal seals shall be continuous contact, multi-layer, vinyl sweep seals. The top seals maintain contact with the track and the bottom seals maintain contact with the floor or other surface along the path of the movable wall.

Optional bottom horizontal seals to be operated by a removable handle located approximately 280mm (11”) from the floor at panel edge. Operation of the seals requires no more than 180degree turn of the handle. Horizontal bottom seals to provide 25mm (1”) nominal operating clearance in order to make manipulation of the panels easier and to accommodate a deflection of the support beam or floor out of level. A stabilizing downward pressure must be exerted when seals are activated.

* 1. **Suspension system**
     + - 1. Track shall be of clear anodized architectural grade extruded aluminum alloy 6063-T6. Track design shall provide integral support for adjoining ceiling, soffit, or plenum sound barrier. Track shall be connected to the structural support by pairs of 10 mm (3/8") diameter threaded steel hanger rods. L or T intersections shall be factory assembled and welded. Built-in ceiling trim shall be of anodized aluminum finish providing enclosure of plenum sound barrier on both sides of track for maximum sound control. A section of track will be removable in order to make it possible for a panel to be removed from the track for later maintenance. Each panel shall be supported by two dual horizontal wheel type trolley assemblies. Only the last or before last panel will have a visible locking device installed in the bottom rail.
         2. Each panel shall be supported by two-wheel counter-rotating horizontal carriers. Wheels to be of precision ground steel ball bearing with heat treated and hardened races encased with molded polymer tires. A report showing that a reliability test covering a distance of 160 kilometers was completed must be available on request.

**2.3 Finishes**

1. All aluminum panel components will have:

**Choose:**

Clear anodized finish

Black anodized finish

Other anodized finish

Powder coated finish in Corflex standard range (Grey, beige, black or white)

Powder coated finish from RAL selector

.2 All vinyl and PJC trim will be

**Choose:**

Black

Grey

Beige

White

* 1. **Operation**
     + 1. The panels must be top supported and manually operated:

**Choose partition closure type;**

Hinged closure panel:

Final partition closure to be by a full height hinged closure access panel at one end of the opening that hinges from a fixed two-piece telescopic aluminum jamb.

Expandable closure panel:

An expandable closure panel will ensure the final acoustical seal. It will have the same finish as the operable partition. A removable lever accessible from both sides of the partition will activate it. It shall compensate for out of plumb conditions or minor wall irregularities and provide a positive pressure seal to achieve maximum sound control.

**Select: For Hinged closure panel;**

The recessed handle shall be a turn type handle. (standard)

The recessed handle shall be a push/pull type handle. (option)

The hinged panel shall be fitted with a lever type architectural handle (option)

A panic bar will be installed on one side and an architectural lever handle with keylock on the other. This panic bar will be full door width and override the keylock function. (option)

Keylock (option)

**2.5 Acoustical performance**

1. Panels will have an acoustical performance of:

Select:

34 STC

47 STC

1. Supply a copy of an acoustical test report certifying that the partition was tested with a performance of 34 OR 47 STC by an independent accredited laboratory. The partition tested must be fully functional, sized 3658mm X 1219mm (12' 0" X 4' 0”) or 3048mm X 1219mm (10' 0" X 4' 0”) and meet ASTM-E90 standard. The test results must be similar to or exceed the performance specified. The acoustical test report must show the weight and the panel construction as well as the acoustical seals tested.
2. The panels shall weigh between 23.9 and 34.7 kg/m² (4.9 and 7.1 lbs/ft²) according to selected STC.

**Part 3 – Execution and Installation**

1. **Installation**
2. Installation is to be completed by an authorized factory-trained installer.

X If concrete anchoring

Concrete anchoring suspension and bracing must be done by the authorized factory-trained installer. Concrete anchors must meet seismic requirements (remove 1.4.3, pre-punching of support structure in accordance with approved shop drawings).